## Slide 1: Polarized Neutrons
Ross Stewart
Oxford School on Neutron Scattering - 2024

## Slide 2: Take-home message
Polarized neutrons can be used to enhance almost any neutron scattering experiment, either by
Separating and providing additional information on the sources of scattering (nuclear, magnetic, incoherent)
Improving the resolution

## Slide 3: Outline
Definitions
Neutron spin, magnetic moment, precession
Polarization, flipping ratio, polarizers, flippers
Polarized neutron scattering
Polarized neutrons interaction with matter
Separation of sources of scattering
Neutron spin-echo
Principle of NSE - using the neutron spin as measuring tool

## Slide 4: Definitions: Neutron magnetic moment
Particles with spin are experimentally observed to possess a magnetic moment
Quarks also have s = ½ quantum number, therefore if the up and down quarks
are antiparallel, the neutron also has s = ½
The magnetic moment calculation is tricky – but can be measured accurately
where,
for neutrons
and
MHz / T
Often we see the neutron magnetic moment given in terms of nuclear magnetons
What does the minus mean?
where,
Boothroyd – Sec 1.2 (p 4)

## Slide 5: Definitions: Neutron spin-1/2
spin-½ particles
s = ½
ms = -s to +s in integer steps
- only two choices
Describes an intrinsic angular momentum, , that the neutron possesses, with

## Slide 6: Definitions: Larmor Precession
Magnetic moments in a field experience a torque defined as the rate of change of angular momentum
always in direction perpendicular to both and
therefore, precesses around maintaining the angle
From definition of the cross product

## Slide 7: Definitions: Larmor precession frequency
The angular frequency of the moment vector is defined as the rate of change of the rotation angle around the field axis
From the figure, can also be written as the arc-length
divided by component of in the plane of rotation
Rearranging this we get
This is the Larmor precession frequency,
and is known as the gyromagnetic ratio

## Slide 8: Measuring the neutron magnetic moment: The first ever Neutron Polarization Analysis Experiment
Magnetised iron “Polarizer”
“Resonance coil”
Magnetised iron “Analyser”
1 for neutrons perfectly polarized along the field
0 for unpolarized neutrons
-1 for neutrons perfectly polarized against the field
Alvarez and Bloch, Physical Review 57, 111 (1940)
neutrons
detector

## Slide 9: Definitions: Flipping Ratio
Instead of “polarization” of the beam, experimentalists often talk in terms of the neutron flipping ratio
This can refer to a device – polarizer or analyser – but also to the sample under investigation
where, N is the number of neutrons transmitted or scattered.
This description of a polarized beam is OK for experiments in which a single quantisation axis is defined: Longitudinal Polarization Analysis
and

## Slide 10: Worked example: Alvarez and Bloch
In the figure on the right, Alvarez and Bloch plot the polarization of their beam as a function of current in their resonance coil – which then gives the resonant
frequency. What was the flipping ratio, and polarizing efficiency of the polarizer
and analyser (Pp and Pa) assuming they are the same?
The polarization on resonance is,
Therefore,
The measured polarization is just the product of the individual efficiencies

## Slide 11: Longitudinal Neutron Polarization Analysis Experiment
Analyser
π-flipper
π-flipper
B
B
B
B
B
B
OFF
OFF
Polarizer

## Slide 12: Longitudinal Neutron Polarization Analysis Experiment
Analyser
π-flipper
π-flipper
B
B
B
B
B
B
OFF
ON
Polarizer

## Slide 13: Longitudinal Neutron Polarization Analysis Experiment
Analyser
π-flipper
π-flipper
B
B
B
B
B
B
ON
ON
Polarizer

## Slide 14: Longitudinal Neutron Polarization Analysis Experiment
Analyser
π-flipper
π-flipper
B
B
B
B
B
B
ON
OFF
Non-Spin-Flip
Spin-Flip
Polarizer

## Slide 15: Nuclear Spin-Dependent Scattering
Nuclear scattering The scattering length depends on the whether the neutron spin is parallel or antiparallel to the nuclear spin
- neutron/nuclear spins add
- neutron/nuclear spins subtract
Boothroyd – Sec 4.1.2 (p 100)

## Slide 16: Reminder: Magnetic scattering
Magnetic scattering The magnetic scattering is a vector interaction – Since the magnetic field in the sample is divergence-free ( ) after taking the Fourier transform we get,
where,
Neutron probes component of the magnetization perpendicular to Q
Boothroyd – Sec 4.2 (p 103)

## Slide 17: Magnetic Spin-dependent Scattering (classical)
Magnetic scattering has complex spin-dependence There will be a classical torque on the neutron moment if there are components of the field perpendicular to it
Spin-flip
Non-Spin-Flip
if parallel to
No torque – so all scattering is non-spin-flip
if perpendicular to
Neutron spin can precess in the field – spin-flip scattering

## Slide 18: Polarized neutron scattering
The polarization-dependent scattering cross-sections can be calculated from the following
Moon-Riste-Koehler equations
The z-direction is along the direction of the neutron polarization
I is the nuclear spin quantum number and Ix , Iy and Iz are the components of the nuclear spin angular momentum
, , and are the components of the magnetic field perpendicular to the scattering vector
where,
Boothroyd – Sec 4.4 (p 110)
Moon, Riste and Koehler, Physical Review 181, 920 (1969)

## Slide 19: Coherent (nuclear) Scattering
Assuming no magnetism in the sample – we can work out the coherent (see A Boothroyd lectures)
nuclear scattering, just by taking the average of the amplitudes
Now, if the nuclear spins are randomly oriented, then the average over any one component of I is zero. Therefore
All the nuclear coherent scattering appears in the Non-Spin-Flip measurements
Boothroyd – Sec 4.5.1 (p 112)

## Slide 20: Incoherent (nuclear) Scattering
Again, assuming no magnetism we can work out the incoherent scattering which (from A Boothroyd’s lectures), is given by the variance in the scattering amplitudes
Applying this to the NSF amplitudes, we get
Again, we assume that the nuclei are randomly oriented
Nuclear isotope incoherent
Nuclear spin incoherent
Note that
, so for isotropic nuclear spins
Boothroyd – Sec 4.5.1 (p 112)

## Slide 21: Incoherent (nuclear) Scattering
Again, assuming no magnetism we can work out the incoherent scattering which (from A Boothroyd’s lectures), is given by the variance in the scattering amplitudes
Applying this to the SF amplitudes, we get
So assuming randomly oriented nuclear spins again, we get
which is exactly twice the non-spin-flip spin-incoherent scattering
Boothroyd – Sec 4.5.1 (p 112)

## Slide 22: Non-magnetic polarization analysis
if the scattering is fully coherent/isotope incoherent – then the scattered polarization is preserved
if the scattering is fully spin-incoherent then,

## Slide 23: Example 1 – Water (D2O) at 295 K
 | σcoh (b) | σSI (b)
D | 5.59 | 2.05
O | 4.23 | ~0
Single-particle (incoherent) and structural (coherent) dynamics are separated
Arbe et al., Phys Rev Res 2, 022015 (2020)
Measured on LET at ISIS

## Slide 24: Example 2 – deuterated Green fluorescent protein
New experiments
challenging assumptions
about “dominant” scattering
on deuteration
Nidriche et al., PRX Life 2, 013005 (2024)

## Slide 25: Scattering from Ferromagnets
M
Assuming no spin-incoherent scattering in a ferromagnetic material, and assuming that the magnetization is along the polarization direction – we only need to look at the and amplitudes
Writing this in terms of cross-sections and structure factors
Leading to a flipping ratio of
where,
Boothroyd – Sec 7.3.2 (p 233)

## Slide 26: Example 3 – Heusler alloy, Cu2MnAl
Cubic ferromagnet
Used as a neutron polarizer
If the (111) Bragg peak from Cu2MnAl produces a polarization, P = -0.99, what is the ratio of the magnetic and nuclear (111) structure factors?
We can write the ratio of the structure factors, , as a function of the flipping ratio
The flipping ratio is,
Therefore
So and don’t have to be that close to get a good polarization

## Slide 27: Example 4 – nickel
In nickel, the ratio of the magnetic and nuclear structure factors for the (400)
Bragg peak is . What is the flipping ratio? Compare that with the extra magnetic intensity which would be seen in an unpolarized experiment
The ratio of the magnetic and nuclear intensities in an unpolarized experiment is
So – magnetic structure factors much easier to measure using polarized neutrons (also, much less sensitive to systematic errors)

## Slide 28: Scattering from disordered magnets
M = 0
We can therefore write the polarization as
This is easily simplified to give the Halpern-Johnson Equation
Halpern and Johnson, Phys. Rev. 15, 898 (1939)
Paramagnetic scattering
Squires – Sec 9.3 (p 179)

## Slide 29: “Planar multidetector” – XYZ Polarization Analysis
Paramagnetic scattering

## Slide 30: XYZ polarization analysis – paramagnetic scattering
Polarization along x-direction:
Polarization along y-direction:
Polarization along z-direction:

## Slide 31: XYZ Polarization analysis – Schärpf Equations
6 equations
4 unknowns
known as the Schärpf Angle
Otto Schärpf (1929-2019)
Boothroyd – Sec 4.6 (p 118)
Schärpf and Capellmann, Phys. Stat. Sol. (a) 135 359 (1993)

## Slide 32: XYZ Polarization analysis – Schärpf Equations
Coherent (+II) nuclear scattering
where TNSF and TSF refer to the total non-spin-flip and spin-flip scattering respectively
Magnetic scattering – can be independently calculated in two ways
can take the average of these
Spin-incoherent scattering

## Slide 33: Why is this necessary?
Stewart, et al., J. Appl. Phys 42, 69 (2009)

## Slide 34: Example 5 – correlated disorder in CsNiCrF6
Nuclear scattering
Magnetic scattering
Experiment
Calculation
Experiment
Calculation
Fennell, et al., Nature Phys. 15 (2019) 60-66

## Slide 35: Reminder – Rules for Polarized Neutron Scattering
The nuclear coherent and isotope incoherent scattering is always NSF
The spin-incoherent scattering is always 1/3 NSF and 2/3 SF
Magnetism: must be in a direction perpendicular to and: - NSF if parallel to - SF if perpendicular to

## Slide 36: Neutron Spin-Echo
Number of radians precessed in each arm:
If , and then the neutron spins will all re-align:
flippers
Boothroyd – Sec 5.9 (p 176)

## Slide 37: Neutron Spin-Echo
Elastic scattering
Inelastic scattering
(assumes that the sample doesn’t depolarize the beam)

## Slide 38: NSE Resolution – Spin-Echo Time
Neutron energy is
In NSE we measure a phase shift
Since we know that and that the phase shift we can identify the Spin-Echo time
Putting in numbers: Tm on WASP at ILL, and nm we find a Spin-Echo time, ns
This is equivalent to GHz, or 0.08 μeV
Much higher energy resolution than on a conventional spectrometer

## Slide 39: Example 6 – dynamics in van der Waals liquid
Arbe et al., J. Chem. Phys. 158 (2023) 184502
Tetrahydrofuran – THF, C4H8O
LET at ISIS
WASP at ILL
Coherent and incoherent scattering in deuterated dTHF
Mostly incoherent scattering in protonated pTHF
Fit is a model consisting of diffusion (incoherent) and structural relaxation (coherent) – too complicated to disentangle without polarized neutrons – and which requires NSE for the resolution at low Q

## Slide 40: Take-home message
Polarized neutrons can be used to enhance almost any neutron scattering experiment, either by
Separating and providing additional information on the sources of scattering (nuclear, magnetic, incoherent)
Improving the resolution